## Ark1
Start dato og RUNxxxx-navn (Præ-PCR) | Slut dato, flowcelle og navn (Post-PCR) | Navn |  | Bestem DNA inden mærkning med barkoder |  |  | Final Libary
|  |  |  | 1. Måling af DNA konc. (Qubit BR kittet) |  |  | 2. måling af DNA konc.(Qubit HS kittet)
KMA nr | CT/CP værdi | Barkode | Eluat nr. | ng/µl | (A) µl cDNA/rør der skal tilsættes (200ng) | µl vand (12,5µl-(A)) | ng/µl | Volume prøve i µl, så konc. bliver 15ng/12µl | Volume EB i µl, så konc. bliver 15ng/12µl | Reagenser | Lot nr
11710000 | 22 | NB01 | 1 | 145 | 1.3793 | 11.1207 | 4.04 | 3.7129 | 8.2871 | LunaScript RT SuperMix Kit
11700000 | 22.08 | NB02 | 2 | 62.4 | 3.2051 | 9.2949 |  |  |  | PRÆ Nuklease-frit H2O
Neg K1 | 99 | NB05 | 5 | [6 empty] | V3 Primer pool 1
V3 Primer pool 2
Q5 Hot Start HighFidelity 2XMaster Mix
70% EtOH
Ampure beads
POST Nuklease-frit H2O
BR Qubit kit
Ultra II End Prep Reaction buffer
Ultra II End Prep Enzyme mix
Blunt TA Ligase mastermix
SFB
EB
HS Qubit kit
NEBNext Quick Lagation Reaction buffer
Adapter mix (AMII)
Quick T4 DNA Ligase
SQB (Sequencing buffer)
LB (Loading beads)
FB (Flush buffer)
FLT (Flush tether)

## Ark2
NB01
NB02
NB03
NB04
NB05
NB06
NB07
NB08
NB09
NB10
NB11
NB12
NB13
NB14
NB15
NB16
NB17
NB18
NB19
NB20
NB21
NB22
NB23
NB24